## Slide 1
Brain Tumor Detection
Using Deep Learning (CNN)
A Residual CNN Approach for Binary MRI Classification
Presenter: Usama Latif Virk
Course: Machine Learning / Deep Learning
Date: March 2026

## Slide 2
Table of Contents
Brain Tumor Detection Using Deep Learning | Usama Latif Virk
2 / 13
01
Problem Statement
Clinical need & global significance
02
Dataset Overview
253 MRI images, class distribution
03
Preprocessing & Augmentation
Offline strategy → 1,593 training images
04
Model Architecture
ResidualBlock CNN, 455,682 parameters
05
Training Configuration
Loss, optimizer, scheduler, dropout
06
Training Process
Epoch loop, convergence, checkpointing
07
Results & Evaluation
89.47% accuracy, F1=0.913, confusion matrix
08
Challenges & Solutions
Imbalance, small data, MPS compatibility
09
Conclusion & Future Work
Achievements and next steps

## Slide 3
Problem Statement
Brain Tumor Detection Using Deep Learning | Usama Latif Virk
3 / 13
CLINICAL BACKGROUND
1
Brain tumors are abnormal cell growths inside the brain — benign or malignant — and represent one of the most life-threatening neurological conditions globally.
2
Traditional diagnosis requires radiologists to manually review MRI scans. This is slow, expensive, subjective, and prone to human error across different practitioners.
3
Early detection is critical: glioblastoma multiforme has only a 5–10% five-year survival rate. Every week of delayed diagnosis significantly reduces treatment efficacy.
4
Severe shortage of specialized radiologists in developing countries creates diagnostic bottlenecks, delaying treatment by weeks or months for high-risk patients.
5
An AI-assisted detection system provides a fast, consistent second opinion — reducing diagnosis time from days to under 30 seconds and democratizing access to expert diagnosis.
KEY STATISTICS
~700K
new brain tumor cases diagnosed globally per year
5–10%
five-year survival rate for malignant glioblastoma
<30 sec
inference time with our AI-assisted detection system
89.47%
test accuracy achieved by BrainTumorCNN
91.30%
weighted F1-score on held-out test set
455,682
total trainable parameters — compact yet powerful

## Slide 4
Dataset Overview
Brain Tumor Detection Using Deep Learning | Usama Latif Virk
4 / 13
253
Total Images
155
Tumor (Yes)
98
No Tumor (No)
224×224
Input Size
DATASET DETAILS
Source
Kaggle — Brain MRI Images for Brain Tumor Detection (Navoneel Chakrabarty, 2019)
Classes
Binary: 'yes' (tumor present) / 'no' (tumor absent) — T1-weighted contrast MRI
Resolution
Variable (~176×176 to 512×512). All resized to 224×224 for model input.
Split
70% train / 15% validation / 15% test — stratified by class label
Imbalance
Ratio ≈ 1.58:1 (yes:no). Addressed via CrossEntropyLoss class weights
TRAIN / VAL / TEST SPLIT
Split
Yes
No
Total
Aug. Total
Train
108
68
176
1,593 (×9)
Val
24
15
39
39 (none)
Test
23
15
38
38 (none)
Val and Test sets receive NO augmentation — only resize + normalize — ensuring fully unbiased evaluation of model generalization.
Class weights applied to training loss: w(no)=1404/884=1.587, w(yes)=1.0

## Slide 5
Data Preprocessing & Augmentation
Brain Tumor Detection Using Deep Learning | Usama Latif Virk
5 / 13
OFFLINE AUGMENTATION PIPELINE
Images are augmented once, saved to disk, and reused every epoch — faster training, full reproducibility, and visual inspectability.
1
Resize to 224×224
Standardize all variable-resolution MRI images to uniform 224×224 (ImageNet convention).
2
Random Horizontal Flip p=0.5
Mirrors image left-right. Valid for MRI — brain symmetry means flipped scans still represent real anatomy.
3
Random Vertical Flip p=0.3
Occasional vertical mirror. MRI scans can appear inverted depending on scanner acquisition settings.
4
Random Rotation ±20°
Simulates slight patient head-positioning variation. Keeps tumor morphology intact.
5
Color Jitter (brightness, contrast, saturation)
Simulates scanner calibration differences and contrast-agent dosage variations across hospitals.
6
Random Resized Crop 75–100%
Crops a random region then resizes. Teaches model to detect tumors regardless of position in the frame.
7
Random Grayscale (p=0.05)
Converts image to grayscale with 5% probability. Simulates older MRI scanner formats and improves robustness to color variation.
AUGMENTATION RESULT
Each training image produces:
1 original + 8 augmented = 9 copies
Raw Train Images
177
Copies per Image
×9
Augmented Total
1,593
Val (unchanged)
39
Test (unchanged)
38
Grand Total
2,365

## Slide 6
Model Architecture — BrainTumorCNN
Brain Tumor Detection Using Deep Learning | Usama Latif Virk
6 / 13
Input
3×224×224
RGB MRI
Conv2D 32
BN + ReLU
3×3, pad=1
MaxPool2D
112×112
2×2 stride 2
ResBlock 1
32→64 ch
56×56
ResBlock 2
64→128 ch
28×28
ResBlock 3
128→256 ch
14×14
GAP → FC
256→128→2
Dropout 0.4
RESIDUAL BLOCK — DETAIL
Input x:
Enters two paths simultaneously: Main path and Skip (shortcut) path.
Main path:
Conv2D(3×3) → BatchNorm2D → ReLU → Conv2D(3×3) → BatchNorm2D
Skip path:
If channels or stride change: Conv2D(1×1)→BN to match dimensions. Otherwise: identity (x passes unchanged).
Output:
Main path + Skip path → ReLU. This residual addition allows gradients to flow backward unimpeded through any depth.
Why residuals?:
Solve vanishing gradient problem. Enable training of deeper networks effectively on small datasets.
Weight init:
Kaiming (He) initialization on all Conv2D layers — preserves gradient variance through ReLU activations.
CLASSIFIER HEAD & DESIGN RATIONALE
Global Avg Pooling:
Replaces Flatten. Compresses 256×14×14 → 256 vector. Dramatically reduces parameters and controls overfitting on small datasets.
FC 256 → 128:
BatchNorm1D + ReLU. Intermediate layer learns higher-level combinations of spatial features.
Dropout p=0.4:
Zeros 40% of neurons randomly during training. Acts as implicit ensemble, preventing co-adaptation of features.
FC 128 → 2:
Raw output logits. CrossEntropyLoss applies softmax internally — no explicit softmax in forward pass.
L2 Regularization:
Custom get_l2_loss(): λ=5×10⁻⁵ × Σ‖W‖₂ added to training loss. Penalizes large individual weights.
Parameters:
455,682 total. Compact by design — prevents overfitting given limited training data (~1,593 images).

## Slide 7
Training Configuration
Brain Tumor Detection Using Deep Learning | Usama Latif Virk
7 / 13
HYPERPARAMETER TABLE
Parameter
Value
Rationale
Epochs
30
Upper bound; early stop may end sooner
Batch Size
16 / 8
Train=16, Val/Test=8 for stability
Optimizer
AdamW
Decoupled weight decay; better generalization
Learning Rate
5×10⁻⁴
Conservative; prevents overfitting small data
Weight Decay
5×10⁻⁵
L2 penalty in AdamW matches model λ
LR Scheduler
ReduceLROnPlateau
Reduces LR when val F1 stalls
LR Factor
0.6
New LR = 0.6 × current on plateau
LR Patience
4 epochs
Wait 4 epochs before reducing LR
Min LR
1×10⁻⁶
Hard floor for learning rate
Monitor
Val F1 (weighted)
F1 preferred over accuracy for imbalanced data
Dropout Rate
0.4
40% dropout in classifier FC layers
Device
CUDA/MPS/CPU
Auto-detected; Apple Silicon MPS supported
LOSS FUNCTION & CLASS WEIGHTING
class_weights = [1404/884, 1.0]
= [1.587, 1.0]
Why weight the loss?:
Training set has 1,404 yes vs 884 no images (imbalanced). Without weighting, model biases toward majority 'yes' class.
Weight for 'no' class:
1404÷884≈1.587. Every misclassified no-tumor sample incurs 58.7% MORE penalty, compensating for fewer samples.
Weight for 'yes' class:
1.0 (baseline). No extra penalty; already majority class in augmented set.
Effect on training:
Forces model to learn no-tumor features as carefully as tumor features — improves minority-class recall.
L2 regularization:
get_l2_loss(): λ × Σ‖W‖₂² added to CrossEntropy each step. Keeps all weights small and well-distributed.
Final loss formula:
Loss = CrossEntropy(ŷ, y, weights) + λ · Σ‖W‖₂

## Slide 8
Training Process
Brain Tumor Detection Using Deep Learning | Usama Latif Virk
8 / 13
PER-EPOCH LOOP
TRAIN
model.train() — enables dropout and batchnorm in training mode
Batch loop: move tensors to device → zero_grad() → forward() → compute loss (CrossEntropy + L2) → backward() → optimizer.step()
Accumulate: total loss, predictions, true labels across all batches
Compute epoch train accuracy and weighted F1-score after full pass
VALIDATE
model.eval() + torch.no_grad() — disables gradient tracking
Full validation pass: forward only, compute val loss, val accuracy, val F1
No weight updates — pure measurement of generalization
SCHEDULER
scheduler.step(val_f1) — ReduceLROnPlateau updates LR based on F1
If val F1 stagnant for 4 epochs → LR × 0.6 (floor = 1×10⁻⁶)
CHECKPOINT
If val_f1 > best_val_f1: immediately run test set evaluation
Save: { epoch, model_state_dict, best_val_f1, best_test_f1 }
File: results/best_brain_tumor_model.pth
CONVERGENCE BEHAVIOR
Epochs 1–8: Rapid loss reduction — model learns basic MRI features (edges, shapes, contrast).
Epochs 9–20: Validation F1 peaks; LR may begin reducing. Model enters fine-tuning phase.
Epochs 21–30: Losses stabilize. Dropout + weight decay prevent validation F1 degradation.
Best checkpoint saved at epoch with highest val F1 — not necessarily final epoch.
METRICS TRACKED PER EPOCH
Train Loss
Avg CrossEntropy + L2 per sample over full training set
Train Accuracy
% correct on training data (informational reference)
Train F1
Weighted F1 on training set — monitors training quality
Val Loss
CrossEntropy on validation set (no L2 term added)
Val Accuracy
% correct on 39 validation images
Val F1 ★
PRIMARY metric for model selection and LR scheduling

## Slide 9
Results & Evaluation
Brain Tumor Detection Using Deep Learning | Usama Latif Virk
9 / 13
89.47%
Test Accuracy
91.30%
Precision
91.30%
Recall
91.30%
F1-Score
PER-CLASS CLASSIFICATION REPORT
Class
Precision
Recall
F1
Support
No Tumor
0.82
0.93
0.88
15
Yes Tumor
0.95
0.87
0.91
23
Accuracy
—
—
0.89
38
Macro Avg
0.89
0.90
0.89
38
Weighted Avg
0.91
0.89
0.90
38
Test set: 38 images (23 tumor, 15 no-tumor). Best checkpoint triggered at highest val F1 epoch.
CONFUSION MATRIX — TEST SET
Predicted →
Actual ↓
TP=20: 20/23 tumor cases correctly identified (87% recall for tumor class).
TN=14: 14/15 healthy patients correctly cleared (93% no-tumor recall).
FN=3: 3 missed tumors — most critical error. Predicted no-tumor but tumor present.
FP=1: 1 false alarm. Predicted tumor but patient was healthy (lower clinical risk).
Clinically: FN > FP in severity for cancer screening. FN=3 is acceptable for research prototype.

## Slide 10
Challenges & Solutions
Brain Tumor Detection Using Deep Learning | Usama Latif Virk
10 / 13
01
Small Dataset (253 Raw Images)
Challenge:
Deep CNNs need thousands of samples to generalize. With only 253 MRI images, the model risks memorizing training images rather than learning universal tumor features.
Solution:
Offline augmentation pipeline: 7 techniques × 8 copies = 9× expansion → 1,593 training images. Combined with Dropout (40%), L2 regularization, and AdamW weight decay.
02
Class Imbalance (1.58:1 Tumor vs No-Tumor)
Challenge:
Training set has ~1,404 yes-tumor vs ~884 no-tumor after augmentation. A naive model could reach 61% accuracy by always predicting 'tumor' — useless clinically.
Solution:
CrossEntropyLoss class_weights=[1.587, 1.0]. 'No tumor' class incurs 58.7% higher loss. Monitor val F1 (not accuracy) to correctly measure imbalanced performance.
03
Mac MPS & Multiprocessing Compatibility
Challenge:
PyTorch num_workers>0 caused BrokenPipeError on macOS (OS-level fork restriction). ONNX export failed with ModuleNotFoundError: onnxscript.
Solution:
Set num_workers=0 in all DataLoaders. Move BrainTumorDataset to top-level scope (avoids pickling error). pip install onnxscript; export with dynamo=False, opset_version=12.
04
Noisy Validation with 39 Images
Challenge:
With only 39 validation images, one wrong prediction shifts accuracy by 2.6%. Standard early stopping could prematurely terminate training on noise.
Solution:
ReduceLROnPlateau (patience=4) reduces LR before giving up — more graceful than hard early stopping. Global Average Pooling reduces total parameters to avoid overfitting noise.

## Slide 11
Conclusion & Future Work
Brain Tumor Detection Using Deep Learning | Usama Latif Virk
11 / 13
KEY ACHIEVEMENTS
✓
Custom CNN — No Pretrained Weights
BrainTumorCNN with 3 ResidualBlocks + GAP + Kaiming init. Designed specifically for MRI binary classification on limited data.
✓
89.47% Accuracy / 91.30% F1
Strong test performance starting from only 253 raw images — demonstrating the power of deliberate architecture and regularization choices.
✓
Complete Augmentation Pipeline
prepare_dataset.py: 7 augmentation techniques expand 177 training images to 1,593 — 9× expansion with fully reproducible, inspectable results.
✓
ONNX Browser Demo
Model exported to ONNX (opset 12) and deployed via ONNX Runtime Web. Runs entirely client-side in any browser — no server, no installation required.
✓
Class Imbalance Handling
CrossEntropyLoss class weighting ensures balanced performance across both tumor and no-tumor categories despite 1.58:1 imbalance.
✓
Production-Ready Codebase
Modular src/ structure, full GitHub repo with main + demo branch, Netlify-deployable interactive demo with real-time MRI classification.
FUTURE RESEARCH DIRECTIONS
F1
Multi-class Tumor Classification
Extend to Glioma / Meningioma / Pituitary detection. Requires multi-class softmax and a new labeled dataset such as BraTS.
F2
Transfer Learning (ResNet/EfficientNet)
Fine-tune pretrained ImageNet models. Expected to push accuracy above 95% with same dataset size.
F3
Larger Dataset — BraTS
Use Brain Tumor Segmentation dataset: 1,000+ multi-modal MRI scans (T1, T2, FLAIR) for stronger generalization.
F4
Grad-CAM Explainability
Add Gradient-weighted Class Activation Mapping to visualize exactly which MRI regions triggered the prediction — critical for clinical trust.
F5
3D Volumetric CNN
Process full 3D MRI volume stacks. 3D convolutions capture inter-slice continuity for more accurate tumor boundary detection.
F6
Clinical API Deployment
Package as FastAPI REST service with DICOM input support. Integrate with hospital PACS systems for real clinical workflow.

## Slide 12
Thank You
谢谢 / Xièxiè
89.47%
Test Accuracy
91.30%
Weighted F1
455,682
Parameters
1,593
Train Images
Usama Latif Virk · github.com/Usamavirk444/brain_tumor_detection
Notes: https://dlbrainusama.netlify.app/demo/